## Intro_Instructions
LAB ASSESSMENT TOOL INSTRUCTIONS
This tool is designed to be used for the self-assessment of biorisk management functions in a research or diagnostic laboratory for public and veterinary health. It has been tailored to address common gaps and challenges observed in low- and medium-resource regional/sub-national laboratories as an initial assessment tool.
GETTING STARTED Implementation of this laboratory assessment tool will require a review of existing laboratory documents (standard operating procedures, policies, and guidance) as well as physical observation and inspection of the facility. The tool provides space for the assessment team to identify corrective actions that should be taken as a result of any observed deficits and has a function to highlight priority gaps identified during the assessment. This tool may be printed out and completed by hand or completed electronically. Enter responses in the appropriate cells and save them for the entirety of the assessment. We ask that any assessment done by hand please also be done electronically in order to complete the Action Plan. The final sheet of the tool consists of an Action Plan template to facilitate implementing any identified gaps. The gaps will auto-populate as the tool is completed (this requires inputting your data electronically into the Excel sheet). The assessor(s) can then determine the level of priority of that action (low, medium, or high), the date by which the action should be completed, and the person responsible for ensuring the action is completed.
TOOL DEVELOPMENT The tool draws from numerous international and regional guidance documents, assessment methodologies, and other resources, notably: --World Health Organization (WHO) Laboratory Assessment Tool (2012) --WHO Laboratory Biosafety Manual, 3rd edition (2004) --U.S. Centers for Disease Control and Prevention (CDC) Biosafety in Microbiological and Biomedical Laboratories (BMBL) 5th Edition (2009) *While this tool focuses on key biorisk management systems and functions, the WHO Laboratory Assessment Tool provides a more in-depth methodology that provides a comprehensive assessment of all laboratory functions. As such, it may be a useful subsequent tool for laboratories to explore, for further improvement of performance. Additional information about each of the above resources, as well as others that may be useful in guiding the self-assessment process and implementing corrective actions, are available under the "Resources" tab.
This tool was developed with support from the U.S. Department of State’s Biosecurity Engagement Program. Authors: Erin M. Sorrell, PhD MSc Claire J. Standley, PhD MSc Lauren Miller, MSc Alexander Linder, MSc Contact: Erin M. Sorrell, esorrell@jhu.edu

## Basic Information
Basic information
Laboratory information
Region (province)
Prefecture
Laboratory name
Physical address
Primary telephone
Secondary telephone
Fax
Email
Name of the Laboratory Director
Assessment details
Date of the assessment (DD/MM/YYYY)
Assessment Team Lead
Title/Position of Assessment Team Lead
Telephone number of Assessment Team Lead
Email address of Assessment Team Lead
Additional Assessment Team Members (if applicable)
Name and contact information of person responsible for implementing corrective actions
Name and contact information of person responsible for assessing corrective actions
Notes:

## 1_Infrastructure
1. Infrastructure and Equipment | [10 empty] | Responses
1.1 General Condition of the Laboratory Building and Associated Infrastructure
Response (mark with an X)
|  | Good Condition | Medium Condition | Bad Condition | Not Applicable | Corrective action to take (if applicable) | Comments | Priority level - high, medium, low | Timeline for implementation | Person responsible
1.1.1 | Walls, floors and roofs | [9 empty] | -
1.1.2 | Windows and doors | [9 empty] | -
1.1.3 | Laboratory Benches | [9 empty] | -
1.1.4 | Lighting | [9 empty] | -
1.1.5 | Heating, air conditioning, ventilation | [9 empty] | -
1.1.6 | Sufficient space for staff to work in laboratory | [9 empty] | -
1.2 Information and Communication Technology Available within the Laboratory
Responses
|  | YES | NO |  |  | Corrective action to take (if applicable) | Comments | Priority level | Timeline for implementation | Person responsible
1.2.1 | Is the laboratory equipped with a telephone? | [9 empty] | -
1.2.2 | Is the laboratory equipped with fax? | [9 empty] | -
1.2.3 | Is the laboratory equipped with a computer with internet access? | [9 empty] | -
1.2.4 | If yes, do all laboratory staff have access to the computer? | [9 empty] | -
| Response (mark the next row with an X) | Database software | E-mail | Microsoft Word | LIMS
1.2.5 | What software is available in the laboratory? Select all that apply
| Response (mark the next row with an X) | YES | NO
1.2.6 | If using LIMS, is data easily retrievable? | [9 empty] | -
1.3 Utilities (i.e. water, power supply) available within the laboratory
Response (mark with an X)
|  | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments | Priority level | Timeline for implementation | Person responsible
1.3.1 | Does the laboratory face electricity disruptions? | [9 empty] | -
1.3.2 | Is a backup power source available? | [9 empty] | -
1.3.3 | Is sensitive material connected to an uninterrupted power supply (UPS)? | [9 empty] | -
1.3.4 | Does the laboratory have access to clean and distilled water? | [9 empty] | -
1.4 Equipment Inventory
|  | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments | Priority level | Timeline for implementation | Person responsible
1.4.1 | Does the laboratory or institution have an equipment inventory system? | [9 empty] | -
| Response (mark the next row with an X) | Electronic | Paper
1.4.2 | If yes (or partial), are equipment forms recorded on paper or electronically? | [9 empty] | -
| Response (mark the next row with an X) | YES | NO | N/A
If yes (or partial), does this form include:
1.4.3.1 | Name of the equipment | [9 empty] | -
1.4.3.2 | Serial number | [9 empty] | -
1.4.3.3 | Name and contact details of manufacturer (or local supplier) | [9 empty] | -
1.4.3.4 | Service agreement and supplier | [9 empty] | -
1.4.3.5 | Date of receipt | [9 empty] | -
1.4.3.6 | Location in the laboratory | [9 empty] | -
1.4.3.7 | Date of calibration or service | [9 empty] | -
1.4.3.8 | Maintenance activities | [9 empty] | -
1.4.3.9 | Name of individual primarily responsible for this equipment? | [9 empty] | -
1.4.4 | Is the record updated on an annual basis? | [9 empty] | -
1.5 Equipment Usage, Maintenance, Monitoring and Calibration
Response (mark with an X)
| Usage | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments | Priority level | Timeline for implementation | Person responsible
1.5.1 | Are user manuals available for most of the equipment? If yes, are they available in a variety of languages? Please note in comments section | [9 empty] | -
1.5.2 | Is laboratory staff trained and authorized before first using laboratory equipment? | [9 empty] | -
| Maintenance | YES | NO | N/A
1.5.3 | Is the equipment maintained in a safe working condition (including electrical safety)? | [9 empty] | -
1.5.4 | Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)? | [9 empty] | -
1.5.5 | Does the laboratory have contracts with external maintenance and repair services? | [9 empty] | -
1.5.6 | Is there a specific budget for laboratory equipment maintenance and calibration? | [9 empty] | -
1.5.7 | Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)? | [9 empty] | -
1.5.8 | Are procedures available for the disposal of equipment that can no longer function? | [9 empty] | -
| Monitoring | YES | NO | N/A
1.5.9 | Is there daily monitoring and recording of temperatures for temperature-dependent equipment (incubators, freezers, fridges)? | [9 empty] | -
| Calibration | YES | NO | N/A
1.5.10 | Is equipment calibrated when received in the laboratory? | [9 empty] | -
1.5.11 | Is there a specific protocol and time period for pipette calibration? | [9 empty] | -
1.5.12 | Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)? If yes, please list which equipment in the comments section | [9 empty] | -
Notes:

## 2_Admin_Training
2. Administration and Training | [6 empty] | Responses
2.1 Administration and Management
Response (mark with an X)
|  | YES | NO | N/A | Corrective action to take (if applicable) | Comments
2.1.1 | Does the laboratory have an organizational chart to outline roles and responsibilities for the laboratory? | [5 empty] | -
2.1.2 | Are job descriptions and job qualifications available for each position in the laboratory? | [5 empty] | -
2.1.3 | Is the laboratory staffed properly to conduct the required work? | [5 empty] | -
2.1.4 | Are qualifications, trainings and experience of staff recorded? | [5 empty] | -
2.1.5 | Is there a system in place to organize laboratory documents and records? | [5 empty] | -
2.1.6 | If yes, how are documents organized? Please specify in your comment
2.1.7 | Does the laboratory have a quality management program? | [5 empty] | -
| If yes, does it cover the following areas: | YES | NO | N/A
2.1.8.1 | Organization | [5 empty] | -
2.1.8.2 | Personnel | [5 empty] | -
2.1.8.3 | Equipment | [5 empty] | -
2.1.8.4 | Purchasing and Inventory | [5 empty] | -
2.1.8.5 | Process Control | [5 empty] | -
2.1.8.6 | Information Management | [5 empty] | -
2.1.8.7 | Documents and Records | [5 empty] | -
2.1.8.8 | Occurrence Management | [5 empty] | -
2.1.8.9 | Assessment | [5 empty] | -
2.1.8.10 | Process Improvement | [5 empty] | -
2.1.8.11 | Customer Service | [5 empty] | -
2.1.8.12 | Facilities and Safety | [5 empty] | -
2.1.9 | Are laboratory procedures reviewed on a regular basis? If so specify how often in the comments section. | [5 empty] | -
2.1.10 | Are there procedures in place to file an incident report or complaint? | [5 empty] | -
2.1.11 | If yes, how are corrective actions documented? Please specify in your comment
2.2 Training
Response (mark with an X)
|  | YES | NO | N/A | Corrective action to take (if applicable) | Comments
2.2.1 | Is there a professional development program in place for all staff? | [5 empty] | -
2.2.2 | Is continuing education provided to all staff? (Include training, workshops, conferences, online courses) | [5 empty] | -
2.2.3 | Are the staff trained on how to use laboratory equipment? | [5 empty] | -
2.2.4 | If yes, how often are they trained on lab equipment?
2.2.5 | Is training available on inventory management? | [5 empty] | -
2.2.6 | If yes, how often is training held on inventory management?
2.2.7 | Is training available on biosafety? | [5 empty] | -
2.2.8 | If yes, how often is training held on biosafety?
2.2.9 | Is training available on biosecurity? | [5 empty] | -
2.2.10 | If yes, how often in training held on biosecurity?
2.2.11 | Is training available on waste management? | [5 empty] | -
2.2.12 | If yes, how often is training held on waste management?
2.2.13 | Does your laboratory or institution provide regular training on biorisk management? | [5 empty] | -
2.2.14 | If yes, how often is training held on biorisk management
Notes:

## 3_BRM_System
3. Biorisk Management System | [6 empty] | Responses
3.1 Policies and Documents
Response (mark with an X)
|  | YES | NO | N/A | Corrective action to take | Comments
3.1.1 | Does the laboratory have a written policy concerning the management of laboratory biorisk (biosafety and biosecurity)? | [5 empty] | -
3.1.2 | If yes, does the policy clearly state the biorisk management objectives? | [5 empty] | -
3.1.3 | If yes, is there a guideline for how to meet the biorisk objectives? Does it include SOPs? | [5 empty] | -
3.1.4 | If yes, is the policy available to all laboratory staff for review? | [5 empty] | -
3.1.5 | Are roles and responsibilities for laboratory biorisk management identified and assigned to specific laboratory personnel? | [5 empty] | -
3.2 Biorisk Assessment
Response (mark with an X)
|  | YES | NO | N/A | Corrective action to take | Comments
3.2.1 | Is there an inventory of all biological hazards in the laboratory? If yes, please specify where the inventory log is managed (paper or electronic) in your comment | [5 empty] | -
3.2.2 | Have the biorisks been assessed and categorized? | [5 empty] | -
3.2.3 | Does the laboratory have scheduled, regular laboratory assessments? If yes, please specify the schedule in the comments section. | [5 empty] | -
3.3 Biorisk Mitigation
Response (mark with an X)
Administrative Controls |  | YES | NO | N/A | Corrective action to take | Comments
3.3.1 | Does your laboratory have a biorisk mitigation plan? | [5 empty] | -
3.3.2 | If yes, are control measures identified and described to reduce or eliminate biorisks in the laboratory? Please specify in your comment | [5 empty] | -
3.3.3 | Is there an emergency protocol in place in case of containment or accidental exposure to an agent or sample? | [5 empty] | -
Practices and Procedures (Personnel): |  | YES | NO | N/A
3.3.4 | Is there a designated person or office to oversee the biorisk management system at your laboratory or facility? | [5 empty] | -
3.3.5 | Has a biorisk management committee for your laboratory or institution been established? | [5 empty] | -
3.3.6 | Does your laboratory or institution have a designated biorisk management advisor or biological safety officer? | [5 empty] | -
3.3.7 | If yes, do they have the necessary authority and budget to implement biorisk management best practices? | [5 empty] | -
3.3.8 | Does your laboratory or institution have a designated facilities manager to oversee equipment and the maintenance of the building? | [5 empty] | -
3.4 Implementation and Operation
Response (mark with an X)
Personnel Protection |  | YES | NO | N/A | Corrective action to take | Comments
3.4.1 | Are PPE and clothing used appropriately? | [5 empty] | -
3.4.2 | Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials? | [5 empty] | -
3.4.3 | Is a vaccination policy defined and implemented? If yes, please note which vaccines are available in the comments section | [5 empty] | -
3.4.4 | If you have biosafety cabinets, are they certified? Please indicate responsible party and schedule for certification in comments section | [5 empty] | -
3.4.5 | Are disinfection and decontamination procedures in the laboratory implemented effectively? | [5 empty] | -
3.4.6 | Are waste management procedures implemented effectively? | [5 empty] | -
3.4.7 | Are the laboratory facilities designed to allow work in a safe and secure way? | [5 empty] | -
| Security | YES | NO | N/A
3.4.8 | Does the institution have building security or some form of access control to enter the laboratory space? | [5 empty] | -
3.4.9 | Are appropriate security measures in place to minimize potential inappropriate removal or release of biological agents (e.g. theft, earthquake, flood)? | [5 empty] | -
3.4.10 | Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures? If yes, please explain in comments section | [5 empty] | -
3.4.11 | Do laboratory staff wear identification tags or badges? | [5 empty] | -
3.4.12 | Does the laboratory enforce access restrictions? | [5 empty] | -
3.4.13 | Are freezers and refrigerators locked when not in use? | [5 empty] | -
3.4.14 | Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established? | [5 empty] | -
3.4.15 | Is yes, are there written protocols and regular training/certification? | [5 empty] | -
| Emergency Procedures | YES | NO | N/A
3.4.16 | Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage or power failure)? If yes list which plans are available in your comment | [5 empty] | -
3.4.17 | Are emergency simulation exercises including security drills conducted regularly? | [5 empty] | -
3.5 Performance Review
Response (mark with an X)
|  | YES | NO | N/A | Corrective action to take | Comments
3.5.1 | Are biorisk management plans reviewed annually? | [5 empty] | -
3.5.2 | Are biorisk documents and records managed as part of the laboratory document management system? | [5 empty] | -
3.5.3 | Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)? | [5 empty] | -
3.5.4 | Do planned inspection or audit(s) include assessment of the biorisk management system? | [5 empty] | -
Notes:

## 3_BRM_WHO LAT (hidden)
[Internal note - pull from 10.Biorisk tab (Biorisk assessment and control section) in WHO LAT - could also have a table here where the assessor can list the risks identified and include the mitigation/control measure? Don't want to make it too onerous and burdensome though...so could also merge this with 3.2, per the LAT, and keep it simple] | [Internal note - pull from 10.Biorisk tab (Implementation and operation section) in WHO LAT - without repeating pre-survey and focusing on what is directly observable (people wearing PPE, showing ID cards, washing hands, etc. This is likely going to be the most detailed and important section, and the one where we will draw most of the examples for the lab mock ups]
Has a policy concerning the management of laboratory biorisk (biosafety and biosecurity) been written | Are roles and responsibilities related to biorisk management defined and documented?
Has a policy concerning the management of laboratory biorisk (biosafety and biosecurity) been written? | Is a senior manager designated to oversee the biorisk management system?
Does this policy clearly state the biorisk management objectives and commitment to improve biorisk management performance? | Has a biorisk management committee been established?
Is the policy appropriate to the nature and scale of the risk associated with the facility and associated activities? | Has a biorisk management advisor (or biological safety officer) been designated?
Have the hazards associated with proposed work been identified and documented? X | Is this advisor providing advice and guidance on biorisk management?
Have the biorisks been assessed and categorized? | Has this advisor delegated authority to stop work if necessary?
Are biorisk control measures described in an action plan? | Does personnel have access to occupational health services?
Are biorisk control measures documented? | Has a facility manager been designated to manage facilities, containment equipement and buildings?
Has a security manager been designated?
Has an animal care manager been designated, in case the laboratory handles animals?
Are qualifications, experience and aptitudes relating to biorisk considered as part of the recruitment process?
Is there mechanism/s to ensure that personnel is competent (e.g. successful completion of training, ability to perform tasks under supervision)?
10.20 Is personnel regularly trained on biorisk management? X
10.21 Is an up-to-date biological agent and toxin inventory established and maintained?
10.22 Are desinfection and decontamination procedures implemented effectively?
10.23 Are waste management procedures implemented effectively?
10.24 Are personal protective equipment and clothing used appropriately?
Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials?
Is a vaccination policy defined and implemented?
Is behaviour of personnel safe (e.g. no mouth pipetting, no recaping of needles, no smoking, no food stored in working areas)?
10.28 Are the facilities designed to allow to work in a safe and secure way?
10.29 Is there a formal commissioning process of new facilities?
Are equipments and elements of the physical plant that may impact on biorisk identified?
If yes or partial, are these equipments and elements:
Correctly certified or validated, in line with the manufacturer or regulations' requirements?
10.32 Correctly maintained?
Are appropriate security measures in place to minimize potential unappopriate removal or release of biological agents (e.g. theft, earthquake, flood)?
Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures?
Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established?
Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage)?
Are emergency situation simulation exercices including security drills conducted at regular intervals?
Are contingency measures planned in the event of an emergency or unforeseen event (e.g. power failure)?
Are biorisk documents and records controlled and managed as part of the laboratory document management system?
Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)?
10.41 Do planned inspection or audit/s include assessment of the biorisk management system?
10.42 Is there a regular review of the biorisk management system?

## 4_Specimens
4. Specimens | [6 empty] | Responses
4.1 Specimen Inventory and Collection
Response (mark with an X)
| Inventory | YES | NO | N/A | Corrective action to take | Comments
4.1.1 | Does your laboratory or institution have an inventory system for specimens? If yes, please note whether it is recorded in a book, worksheet, computer or other comparable system in the comments section | [5 empty] | -
| If yes (or partial), is there: | YES | NO | N/A
4.1.2.1 | A unique identification number | [5 empty] | -
4.1.2.2 | Date of receipt | [5 empty] | -
4.1.2.3 | Time of receipt | [5 empty] | -
4.1.2.4 | Identification code to link alliquots to an original sample | [5 empty] | -
4.1.3 | Do you have an SOP for sample management and inventory for biological samples? | [5 empty] | -
4.1.4 | If yes, is your system an electronic database? | [5 empty] | -
4.1.5 | Are your biological agents in a secured space? | [5 empty] | -
| Collection | YES | NO | N/A
4.1.6 | Is your laboratory facility involved in specimen collection? | [5 empty] | -
| If yes: | YES | NO | N/A
4.1.7.1 | Are collection procedures documented and available to relevant personnel? | [5 empty] | -
4.1.7.2 | Do these include minimum patient identification details? | [5 empty] | -
4.1.8 | Is a standard specimen request form available for those requesting tests? | [5 empty] | -
| If yes (or partial), does it include: | YES | NO | N/A
4.1.9.1 | Name of the patient? | [5 empty] | -
4.1.9.2 | Gender? | [5 empty] | -
4.1.9.3 | Date of birth? | [5 empty] | -
4.1.9.4 | Patient identification number (if applicable)? | [5 empty] | -
4.1.9.5 | Identification of the prescriber? | [5 empty] | -
4.1.9.6 | Date/time of collection? | [5 empty] | -
4.1.9.7 | Type of specimen? | [5 empty] | -
4.1.9.8 | Specimen identification number (if applicable)? | [5 empty] | -
4.1.9.9 | Examinations requested? | [5 empty] | -
4.1.9.10 | Clinical information? | [5 empty] | -
4.2 Specimen Handling
Response (mark with an X)
| Does the laboratory experience problems with specimens receipt due to any of the following issues: | YES | NO | N/A | Corrective action to take | Comments If yes, please specify if this is a recurring issue for your laboratory or institution
4.2.1.1 | No request form | [5 empty] | -
4.2.1.2 | Incomplete request form | [5 empty] | -
4.2.1.3 | Incorrect specimen identification | [5 empty] | -
4.2.1.4 | Incorrect patient identification | [5 empty] | -
4.2.1.5 | Inadequate container | [5 empty] | -
4.2.1.6 | Inadequate volume | [5 empty] | -
4.2.1.7 | Inadequate transport media/anticoagulant | [5 empty] | -
4.2.1.8 | Inadequate package | [5 empty] | -
4.2.1.9 | Inadequate transportation temperature | [5 empty] | -
4.2.1.10 | Delay in receipt | [5 empty] | -
| Does the laboratory experience problems with specimens collected within your institution due to any of the following issues: | YES | NO | N/A |  | If yes, please specify if this is a recurring issue for your laboratory or institution
4.2.2.1 | Lack of proper collection materials | [5 empty] | -
4.2.2.2 | No request form | [5 empty] | -
4.2.2.3 | Incomplete request form | [5 empty] | -
4.2.2.4 | Incorrect specimen identification | [5 empty] | -
4.2.2.5 | Incorrect patient identification | [5 empty] | -
4.2.2.6 | Inadequate volume | [5 empty] | -
4.2.3 | Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)? | [5 empty] | -
4.2.4 | Are primary specimens adequately stored if not immediately examined or tested? | [5 empty] | -
4.2.5 | If yes, for how long? Please specify in comments section
4.3 Specimen referral and transport
|  | YES | NO | N/A | Corrective action to take | Comments
4.3.1 | Does the laboratory receive specimens or isolates from other laboratories? | [5 empty] | -
If yes, please list in comments section what type of samples your laboratory/institution receives and from which laboratories
4.3.2 | Does the laboratory refer specimens or isolates to other laboratories? | [5 empty] | -
If yes, please list in comments section what type of samples your laboratory/institution refers and to which laboratories you send samples to
4.3.3 | Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)? | [5 empty] | -
4.3.4 | Is/are the person(s) in charge of shipments trained for the transport of infectious substances? | [5 empty] | -
| If yes or partial: is there? | YES | NO | N/A
4.3.5 | Does the training include local or national regulations or recommendations? Please specify in your comment | [5 empty] | -
4.3.6 | Does training include international regulations? | [5 empty] | -
Notes:

## 4_Specimens_WHO LAT (hidden)
[Internal note - I ran out of time to define sub-sections! Pull from 3.Specimens tab in LAT without replicating questions from the pre-survey - focus should be on assessing what is available/working at that point in time (and be generalizable enough for all the types of lab). Add questions on sample inventory - some of this may be pulled from 10.Biorisk in LAT]
Specimen collection
Are written instructions available for patient preparation prior to collection (e.g. glucose tolerance test)?
3.2 Are collection procedures documented and available to relevant personnel? X
3.3 Do these include minimum patient identification details?
3.4 Is a standard specimen request form available for those requesting tests?
If yes or partial, does it include:
Name of the patient?
3.6 Gender?
3.7 Date of birth?
Patient identification number (if applicable)?
3.9 Identification of the prescriber?
3.10 Date of collection?
3.11 Time of collection?
3.12 Type of specimen?
3.13 Specimen identification number (if applicable)?
3.14 Examinations requested?
Clinical information?
3.16 Are specimens recorded in a book, worksheet, computer or other comparable system?
If yes or partial, is there:
A unique identification number?
3.18 The date of receipt?
3.19 The time of receipt?
Are specimen portions traceable to the original primary sample (identification number, etc.)?
Specimen handling
Does the laboratory experience problems with specimens from outside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
3.21 No request form
3.22 Incomplete request form
3.23 Incorrect specimen identification
Incorrect patient identification
3.25 Inadequate container
3.26 Inadequate volume
3.27 Inadequate transport media/anticoagulant
3.28 Inadequate package
3.29 Inadequate transportation temperature
3.30 Delay in receipt
Does the laboratory experience problems with collecting specimens inside the facility due to (1.Never; 2.Sometimes; 3.Regularly; 4.Non applicable):
Lack of proper collection materials
No request form
3.33 Incomplete request form
3.34 Incorrect specimen identification
3.35 Incorrect patient identification
3.36 Inadequate volume
Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)?
Are primary specimens adequately stored if not immediately examined?
Are specimens stored for a specific time under appropriate conditions to enable further testing?
Specimen referral / transport
Does the laboratory receive specimens or isolates from other laboratories?
3.41 Does the laboratory refer specimens or isolates to other laboratories?
If yes or partial, please describe which specimens to which laboratories in what circumstances:
Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)?
Is/are the person/s in charge of shipments trained for the transport of infectious substances?
If yes or partial:
Is he/she trained for local or national regulations or recommendations?
3.46 Is he/she trained in international regulations?

## 5_Waste_Mgt_WHO LAT (hidden)
[Internal note - I ran out of time to define sub-sections! There is not a lot in LAT about waste management so we may need to develop most of the Qs here. Qs on docs for waste mgt are under 2.Docs (biosafety section) in LAT; equipment for waste mgt is listed under 6.Equip]
Equipment inventory | Biosafety
6.1 Is there an equipment inventory? | 2.37 Are written biosafety procedures available? X
6.2 If yes or partial, is each equipment recorded with a paper or electronic equipment form? X | If yes or partial, please provide the name and reference of these
If yes or partial, does this form include: | procedures/guidelines:
6.3 Name of the equipment? | 2.39 Personal protective equipment?
6.4 Serial number? | 2.40 Disinfection and sterilization?
6.5 Name and contact details of manufacturer (or local supplier)? | Waste disposal?
6.6 Date of receipt? | 2.42 Access restrictions?
6.7 Date of first use? | 2.43 Biosafety equipments?
Location in the laboratory? | 2.44 Emergency protocols (e.g. in case of contamination)?
6.9 Condition (i.e. new, used)? | 2.45 Are Material Safety Data Sheets available for review in the immediate laboratory area?
6.10 Maintenance activities?
6.11 Damage and repairs?
6.12 The individual primarily responsible for this equipment?
Equipment maintenance, calibration and monitoring
Are results validated against reference materials and/or methods when new equipment is introduced?
6.14 Is the equipment maintained in a safe working condition (including electrical safety)?
Is there daily monitoring and recording of temperatures for temperature-dependent equipment?
6.16 Is the staff duly trained and authorized before first using equipment?
Do only authorized personnels use the equipment?
Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)?
6.19 Is a preventive maintenance programme in place?
6.20 Does the laboratory have contracts with external maintenance and repair services?
6.21 Are data from equipment maintenance recorded and used?
6.22 Is there a defined protocol and time period for pipette calibration?
Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)?
6.24 Are results validated against gold standards after equipment maintenance or repair?
6.25 Are there user manuals for most of the equipment?
If yes, are these manuals available in the language commonly used by the staff?
Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)?
Is defective equipment (waiting for repair or obsolete to be removed) labelled appropriately?
6.29 Are procedures available for the disposal of equipment?
List of FUNCTIONING and USABLE equipment

## 5_Waste_Mgt
5. Waste Management | [7 empty] | Responses
5.1 Biosafety
Response (mark with an X)
|  | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments
5.1.1 | Are written biosafety procedures available and accessible to all laboratory staff? | [6 empty] | -
If yes, are there guidelines or SOPs on the following:
5.1.2.1 | Personal protective equipment? | [6 empty] | -
5.1.2.2 | Disinfection and sterilization? | [6 empty] | -
5.1.2.3 | Waste disposal? | [6 empty] | -
5.1.2.4 | Access restrictions? | [6 empty] | -
5.1.2.5 | Biosafety equipment? | [6 empty] | -
5.1.2.6 | Emergency protocols (e.g. in case of contamination)? | [6 empty] | -
5.1.3 | Are Material Safety Data Sheets available for review in each laboratory area? | [6 empty] | -
5.2 Waste Management Policies
|  | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments
5.2.1 | Does the laboratory have a written policy for laboratory waste management? | [6 empty] | -
5.2.2 | Are there SOPs in place for disinfection of laboratory equipment, laboratory benches and/or workspace? | [6 empty] | -
5.2.3 | Are there SOPs in place for sharps disposal? | [6 empty] | -
5.2.4 | Are there SOPs in place for waste disposal? | [6 empty] | -
5.2.5 | If yes, are there specific SOPs in place for liquid waste disposal? | [6 empty] | -
5.2.6 | Are there specific SOPs in place for solid waste disposal? | [6 empty] | -
5.2.7 | Are staff trained in disinfection, sharps disposal and waste management? | [6 empty] | -
| Response (mark the next row with an X) | As needed | Monthly | Yearly | One time only
5.2.8 | If yes, how often are laboratory staff trained? Please describe in the comments | [6 empty] | -
| Response (mark the next row with an X) | YES | NO | N/A
5.2.9 | Does your laboratory incinerate waste? | [6 empty] | -
| Response (mark the next row with an X) | On-site at the laboratory | At another laboratory facility | Off-site at a private company | Off-site at a public / government agency
5.2.10 | If yes, where is the waste incinerated? | [6 empty] | -
| Response (mark the next row with an X) | Daily | Weekly | Monthly | Other
5.2.11 | How often is waste incinerated? | [6 empty] | -
| Response (mark the next row with an X) | YES | NO | N/A
5.2.12 | Does your laboratory have an autoclave? | [6 empty] | -
| Response (mark the next row with an X) | Daily | Weekly | Monthly | Other
5.2.13 | If yes, how often is it used? | [6 empty] | -
| Response (mark the next row with an X) | YES | NO | N/A
5.2.14 | If no, is infectious waste treated before disposal?
5.3 Waste Management Procedures
| Disinfection | YES | NO | N/A |  | Corrective action to take (if applicable) | Comments
5.3.1 | Does the laboratory use chemical methods of decontamination? | [6 empty] | -
If yes, which types chemical disinfectants does the laboratory use?
5.3.2.1 | Halogens (Chlorine compounds, Iodophor) | [6 empty] | -
5.3.2.2 | Aldehydes (Formaldehyde / Glutaraldehyde) | [6 empty] | -
5.3.2.3 | Phenolics | [6 empty] | -
5.3.2.4 | Alcohols (Isopropyl alcohol/ Ethyl alcohol) | [6 empty] | -
5.3.2.5 | Acids (Peracetic acid) and Alkalis (NaOH) | [6 empty] | -
5.3.2.6 | Oxidizing agents(hydrogen peroxide) | [6 empty] | -
5.3.2.7 | Quaternary | [6 empty] | -
5.3.2.8 | ammonium | [6 empty] | -
5.3.2.9 | compounds | [6 empty] | -
5.3.2.10 | Biguanidines (Chlorhexidine) | [6 empty] | -
5.3.3 | Does the laboratory have a protocol for maintaining resupply of chemical disinfectants? | [6 empty] | -
5.3.4 | If yes, are replacement chemical disinfectants readily accessible (ease of purchase and procurement)? | [6 empty] | -
5.3.5 | Is there an inventory of the chemical disinfectants used in the laboratory? | [6 empty] | -
5.3.6 | Does the laboratory have an inventory management program to help with waste evaluation and minimization? | [6 empty] | -
5.3.7 | If yes: Who is responsible? How is information shared? Please detail in comment
| Waste Segregation and Storage | YES | NO | N/A
5.3.8 | Are hazardous and non-hazardous waste segregated? | [6 empty] | -
5.3.9 | If yes, is a standardized color-coding scheme used for labeling waste? | [6 empty] | -
5.3.10 | Is there a written SOP available for waste segregation? | [6 empty] | -
5.3.11 | Is waste stored in a secure location accessible to authorized personnel only? | [6 empty] | -
5.3.12 | If yes, please explain in the comment section where and how waste is securely stored
5.3.13 | If necessary, are appropriate containers available for highly infectious biohazardous waste? | [6 empty] | -
5.3.14 | Are waste bags, containers and storage areas appropriately labelled? | [6 empty] | -
5.3.15 | Are sharps collection containers available? If yes, are they: | [6 empty] | -
5.3.16 | Puncture-resistant and leak-proof? | [6 empty] | -
5.3.17 | Tightly sealed with a lid? | [6 empty] | -
5.3.18 | Is waste storage in a designated area and protected from the environment? | [6 empty] | -
| Response (mark the next row with an X) | Daily | Weekly | Monthly | Other
5.3.19 | How often is waste collected from your laboratory or facility? | [6 empty] | -
5.3.20 | Who is the responsible party/company that collects the waste? Please detail in comment
| Response (mark the next row with an X) | YES | NO | N/A
5.3.21 | Are hazardous and non-hazardous waste segregated during transport? | [6 empty] | -
5.3.22 | Are specific vehicles used to only transport laboratory waste? | [6 empty] | -
5.3.23 | Are records kept for final disposal of waste? | [6 empty] | -
5.3.24 | Is there a log for accidental exposure and incident monitoring during waste disposal and pickup? | [6 empty] | -

## 6_Action Plan
Action Plan
1. Infrastructure
1.1 General condition of the laboratory building and associated infrastructure
| Item to assess | Corrective action to take (these have been prefilled with your responses in the prior tabs) | Priority level (high / medium / low) | Timeline for implementation | Person responsible
1.1.1 | Walls, floors and roofs | 0
1.1.2 | Windows and doors | 0
1.1.3 | Laboratory Benches | 0
1.1.4 | Lighting | 0
1.1.5 | Heating, air conditioning, ventilation | 0
1.1.6 | Sufficient space for staff to work in laboratory | 0
1.2 Information and communication technology available within the laboratory
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
1.2.1 | Is the laboratory equipped with a telephone? | 0
1.2.2 | Is the laboratory equipped with fax? | 0
1.2.3 | Is the laboratory equipped with a computer with internet access? | 0
1.2.4 | If yes, do all laboratory staff have access to the computer? | 0
1.2.5 | What software is available in the laboratory? Select all that apply | 0
1.2.6 | If using LIMS, is data easily retrievable? | 0
1.3 Utilities (i.e. water, power supply) available within the laboratory
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
1.3.1 | Does the laboratory face electricity disruptions? | 0
1.3.2 | Is a backup power source available? | 0
1.3.3 | Is sensitive material connected to an uninterrupted power supply (UPS)? | 0
1.3.4 | Does the laboratory have access to clean and distilled water? | 0
1.4 Equipment Inventory
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
1.4.1 | Does the laboratory or institution have an equipment inventory system? | 0
1.4.2 | If yes (or partial), are equipment forms recorded on paper or electronically? | 0
If yes (or partial), does this form include:
1.4.3.1 | Name of the equipment | 0
1.4.3.2 | Serial number | 0
1.4.3.3 | Name and contact details of manufacturer (or local supplier) | 0
1.4.3.4 | Service agreement and supplier | 0
1.4.3.5 | Date of receipt | 0
1.4.3.6 | Location in the laboratory | 0
1.4.3.7 | Date of calibration or service | 0
1.4.3.8 | Maintenance activities | 0
1.4.3.9 | Name of individual primarily responsible for this equipment? | 0
1.4.4 | Is the record updated on an annual basis? | 0
1.5 Equipment Usage, Maintenance, Monitoring and Calibration
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
1.5.1 | Are user manuals available for most of the equipment? If yes, are they available in a variety of languages? Please note in comments section | 0
1.5.2 | Is laboratory staff trained and authorized before first using laboratory equipment? | 0
1.5.3 | Is the equipment maintained in a safe working condition (including electrical safety)? | 0
1.5.4 | Does the laboratory have a dedicated person in charge of the equipment (maintenance management, etc.)? | 0
1.5.5 | Does the laboratory have contracts with external maintenance and repair services? | 0
1.5.6 | Is there a specific budget for laboratory equipment maintenance and calibration? | 0
1.5.7 | Are there sufficient spare parts for quick repairs (lamps, fuses, filters, etc.)? | 0
1.5.8 | Are procedures available for the disposal of equipment that can no longer function? | 0
1.5.9 | Is there daily monitoring and recording of temperatures for temperature-dependent equipment (incubators, freezers, fridges)? | 0
1.5.10 | Is equipment calibrated when received in the laboratory? | 0
1.5.11 | Is there a specific protocol and time period for pipette calibration? | 0
1.5.12 | Is calibration of other equipment performed and checked regularly (pH meter, spectrophotometer, etc.)? If yes, please list which equipment in the comments section | 0
2. Administration and Training
2.1 Administration and Management
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
2.1.1 | Does the laboratory have an organizational chart to outline roles and responsibilities for the laboratory? | 0
2.1.2 | Are job descriptions and job qualifications available for each position in the laboratory? | 0
2.1.3 | Is the laboratory staffed properly to conduct the required work? | 0
2.1.4 | Are qualifications, trainings and experience of staff recorded? | 0
2.1.5 | Is there a system in place to organize laboratory documents and records? | 0
2.1.6 | If yes, how are documents organized? Please specify in your comment | 0
2.1.7 | Does the laboratory have a quality management program? | 0
| If yes, does it cover the following areas: | 0
2.1.8.1 | Organization | 0
2.1.8.2 | Personnel | 0
2.1.8.3 | Equipment | 0
2.1.8.4 | Purchasing and Inventory | 0
2.1.8.5 | Process Control | 0
2.1.8.6 | Information Management | 0
2.1.8.7 | Documents and Records | 0
2.1.8.8 | Occurrence Management | 0
2.1.8.9 | Assessment | 0
2.1.8.10 | Process Improvement | 0
2.1.8.11 | Customer Service | 0
2.1.8.12 | Facilities and Safety | 0
2.1.9 | Are laboratory procedures reviewed on a regular basis? If so specify how often in the comments section. | 0
2.1.10 | Are there procedures in place to file an incident report or complaint? | 0
2.1.11 | If yes, how are corrective actions documented? Please specify in your comment | 0
2.2 Training
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
2.2.1 | Is there a professional development program in place for all staff? | 0
2.2.2 | Is continuing education provided to all staff? (Include training, workshops, conferences, online courses) | 0
2.2.3 | Are the staff trained on how to use laboratory equipment? | 0
2.2.5 | Is training available on inventory management? | 0
2.2.7 | Is training available on biosafety? | 0
2.2.9 | Is training available on biosecurity? | 0
2.2.11 | Is training available on waste management? | 0
2.2.13 | Does your laboratory or institution provide regular training on biorisk management? | 0
3. Biorisk Management System
3.1 Policies and Documents
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
3.1.1 | Does the laboratory have a written policy concerning the management of laboratory biorisk (biosafety and biosecurity)? | 0
3.1.2 | If yes, does the policy clearly state the biorisk management objectives? | 0
3.1.3 | If yes, is there a guideline for how to meet the biorisk objectives? Does it include SOPs? | 0
3.1.4 | If yes, is the policy available to all laboratory staff for review? | 0
3.1.5 | Are roles and responsibilities for laboratory biorisk management identified and assigned to specific laboratory personnel? | 0
3.2 Biorisk Assessment
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
3.2.1 | Is there an inventory of all biological hazards in the laboratory? If yes, please specify where the inventory log is managed (paper or electronic) in your comment | 0
3.2.2 | Have the biorisks been assessed and categorized? | 0
3.2.3 | Does the laboratory have scheduled, regular laboratory assessments? If yes, please specify the schedule in the comments section. | 0
3.3 Biorisk Mitigation
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
3.3.1 | Does your laboratory have a biorisk mitigation plan? | 0
3.3.2 | If yes, are control measures identified and described to reduce or eliminate biorisks in the laboratory? Please specify in your comment | 0
3.3.3 | Is there an emergency protocol in place in case of containment or accidental exposure to an agent or sample? | 0
3.3.4 | Is there a designated person or office to oversee the biorisk management system at your laboratory or facility? | 0
3.3.5 | Has a biorisk management committee for your laboratory or institution been established? | 0
3.3.6 | Does your laboratory or institution have a designated biorisk management advisor or biological safety officer? | 0
3.3.7 | If yes, do they have the necessary authority and budget to implement biorisk management best practices? | 0
3.3.8 | Does your laboratory or institution have a designated facilities manager to oversee equipment and the maintenance of the building? | 0
3.4 Implementation and Operation
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
3.4.1 | Are PPE and clothing used appropriately? | 0
3.4.2 | Can personnel access prophylactic or emergency treatment in case of exposure to contaminated materials? | 0
3.4.3 | Is a vaccination policy defined and implemented? If yes, please note which vaccines are available in the comments section | 0
3.4.4 | If you have biosafety cabinets, are they certified? Please indicate responsible party and schedule for certification in comments section | 0
3.4.5 | Are disinfection and decontamination procedures in the laboratory implemented effectively? | 0
3.4.6 | Are waste management procedures implemented effectively? | 0
3.4.7 | Are the laboratory facilities designed to allow work in a safe and secure way? | 0
3.4.8 | Does the institution have building security or some form of access control to enter the laboratory space? | 0
3.4.9 | Are appropriate security measures in place to minimize potential inappropriate removal or release of biological agents (e.g. theft, earthquake, flood)? | 0
3.4.10 | Is access to sensitive information (e.g. inventory of agents and toxins) controlled by adequate policies and procedures? If yes, please explain in comments section | 0
3.4.11 | Do laboratory staff wear identification tags or badges? | 0
3.4.12 | Does the laboratory enforce access restrictions? | 0
3.4.13 | Are freezers and refrigerators locked when not in use? | 0
3.4.14 | Are procedures for a safe and secure transport of culture, specimens, samples and other contaminated materials established? | 0
3.4.15 | Is yes, are there written protocols and regular training/certification? | 0
3.4.16 | Are emergency plans available (e.g. in case of explosion, fire, flood, worker exposure, accident or illness, major spillage or power failure)? If yes list which plans are available in your comment | 0
3.4.17 | Are emergency simulation exercises including security drills conducted regularly? | 0
3.5 Performance Review
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
3.5.1 | Are biorisk management plans reviewed annually? | 0
3.5.2 | Are biorisk documents and records managed as part of the laboratory document management system? | 0
3.5.3 | Are accident/incident and nonconformities related to biorisk correctly managed (i.e. reported, recorded, investigated, and leading to preventive or corrective actions)? | 0
3.5.4 | Do planned inspection or audit(s) include assessment of the biorisk management system? | 0
4. Specimens
4.1 Specimen Inventory and Collection
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
4.1.1 | Does your laboratory or institution have an inventory system for specimens? If yes, please note whether it is recorded in a book, worksheet, computer or other comparable system in the comments section | 0
If yes (or partial), is there:
4.1.2.1 | A unique identification number | 0
4.1.2.2 | Date of receipt | 0
4.1.2.3 | Time of receipt | 0
4.1.2.4 | Identification code to link alliquots to an original sample | 0
4.1.3 | Do you have an SOP for sample management and inventory for biological samples? | 0
4.1.4 | If yes, is your system an electronic database? | 0
4.1.5 | Are your biological agents in a secured space? | 0
4.1.6 | Is your laboratory facility involved in specimen collection? | 0
4.1.7 | If yes:
4.1.7.1 | Are collection procedures documented and available to relevant personnel? | 0
4.1.7.2 | Do these include minimum patient identification details? | 0
4.1.8 | Is a standard specimen request form available for those requesting tests? | 0
If yes (or partial), does it include:
4.1.9.1 | Name of the patient? | 0
4.1.9.2 | Gender? | 0
4.1.9.3 | Date of birth? | 0
4.1.9.4 | Patient identification number (if applicable)? | 0
4.1.9.5 | Identification of the prescriber? | 0
4.1.9.6 | Date/time of collection? | 0
4.1.9.7 | Type of specimen? | 0
4.1.9.8 | Specimen identification number (if applicable)? | 0
4.1.9.9 | Examinations requested? | 0
4.1.9.10 | Clinical information? | 0
4.2 Specimen Handling
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
Does the laboratory experience problems with specimens receipt due to any of the following issues:
4.2.1.1 | No request form | 0
4.2.1.2 | Incomplete request form | 0
4.2.1.3 | Incorrect specimen identification | 0
4.2.1.4 | Incorrect patient identification | 0
4.2.1.5 | Inadequate container | 0
4.2.1.6 | Inadequate volume | 0
4.2.1.7 | Inadequate transport media/anticoagulant | 0
4.2.1.8 | Inadequate package | 0
4.2.1.9 | Inadequate transportation temperature | 0
4.2.1.10 | Delay in receipt | 0
Does the laboratory experience problems with specimens collected within your institution due to any of the following issues:
4.2.2.1 | Lack of proper collection materials | 0
4.2.2.2 | No request form | 0
4.2.2.3 | Incomplete request form | 0
4.2.2.4 | Incorrect specimen identification | 0
4.2.2.5 | Incorrect patient identification | 0
4.2.2.6 | Inadequate volume | 0
4.2.3 | Are there any criteria for acceptance or rejection of primary specimens (including potential caution if non-conforming specimens are accepted)? | 0
4.2.4 | Are primary specimens adequately stored if not immediately examined or tested? | 0
4.3 Specimen referral and transport
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
4.3.1 | Does the laboratory receive specimens or isolates from other laboratories? | 0
4.3.2 | Does the laboratory refer specimens or isolates to other laboratories? | 0
4.3.3 | Does the laboratory have appropriate packaging for referring specimens (triple package if air transport, or any package in conformity with local regulations or recommendations)? | 0
4.3.4 | Is/are the person(s) in charge of shipments trained for the transport of infectious substances? | 0
If yes or partial:
4.3.5 | Does the training include local or national regulations or recommendations? Please specify in your comment | 0
4.3.6 | Does training include international regulations? | 0
5. Waste Management
5.1 Biosafety
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
5.1.1 | Are written biosafety procedures available and accessible to all laboratory staff? | 0
| If yes, are there guidelines or SOPs on the following: | 0
5.1.2.1 | Personal protective equipment? | 0
5.1.2.2 | Disinfection and sterilization? | 0
5.1.2.3 | Waste disposal? | 0
5.1.2.4 | Access restrictions? | 0
5.1.2.5 | Biosafety equipment? | 0
5.1.2.6 | Emergency protocols (e.g. in case of contamination)? | 0
5.1.3 | Are Material Safety Data Sheets available for review in each laboratory area? | 0
5.2 Waste Management Policies
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
5.2.1 | Does the laboratory have a written policy for laboratory waste management? | 0
5.2.2 | Are there SOPs in place for disinfection of laboratory equipment, laboratory benches and/or workspace? | 0
5.2.3 | Are there SOPs in place for sharps disposal? | 0
5.2.4 | Are there SOPs in place for waste disposal? | 0
5.2.5 | If yes, are there specific SOPs in place for liquid waste disposal? | 0
5.2.6 | Are there specific SOPs in place for solid waste disposal? | 0
5.2.7 | Are staff trained in disinfection, sharps disposal and waste management? | 0
5.2.7 | If yes, how often are laboratory staff trained? Please describe in the comments | 0
5.2.9 | Does your laboratory incinerate waste? | 0
5.2.10 | If yes, where is the waste incinerated? | 0
5.2.11 | How often is waste incinerated? | 0
5.2.12 | Does your laboratory have an autoclave? | 0
5.2.13 | If yes, how often is it used? | 0
5.2.14 | If no, is infectious waste treated before disposal? | 0
5.3 Waste Management Procedures
| Item to assess | Corrective action to take | Priority level (high / medium / low) | Timeline for implementation | Person responsible
5.3.1 | Does the laboratory use chemical methods of decontamination? | 0
If yes, which types chemical disinfectants does the laboratory use? Mark all that apply
5.3.2.1 | Halogens (Chlorine compounds, Iodophor) | 0
5.3.2.2 | Aldehydes (Formaldehyde / Glutaraldehyde) | 0
5.3.2.3 | Phenolics | 0
5.3.2.4 | Alcohols (Isopropyl alcohol/ Ethyl alcohol) | 0
5.3.2.5 | Acids (Peracetic acid) and Alkalis (NaOH) | 0
5.3.2.6 | Oxidizing agents(hydrogen peroxide) | 0
5.3.2.7 | Quaternary | 0
5.3.2.8 | ammonium | 0
5.3.2.9 | compounds | 0
5.3.2.10 | Biguanidines (Chlorhexidine) | 0
5.3.3 | Does the laboratory have a protocol for maintaining resupply of chemical disinfectants? | 0
5.3.4 | If yes, are replacement chemical disinfectants readily accessible (ease of purchase and procurement)? | 0
5.3.5 | Is there an inventory of the chemical disinfectants used in the laboratory? | 0
5.3.6 | Does the laboratory have an inventory management program to help with waste evaluation and minimization? | 0
5.3.8 | Are hazardous and non-hazardous waste segregated? | 0
5.3.9 | If yes, is a standardized color-coding scheme used for labeling waste? | 0
5.3.10 | Is there a written SOP available for waste segregation? | 0
5.3.11 | Is waste stored in a secure location accessible to authorized personnel only? | 0
5.3.13 | If necessary, are appropriate containers available for highly infectious biohazardous waste? | 0
5.3.14 | Are waste bags, containers and storage areas appropriately labelled? | 0
5.3.15 | Are sharps collection containers available? If yes, are they: | 0
5.3.16 | Puncture-resistant and leak-proof? | 0
5.3.17 | Tightly sealed with a lid? | 0
5.3.18 | Is waste storage in a designated area and protected from the environment? | 0
5.3.19 | How often is waste collected from your laboratory or facility? | 0
5.3.21 | Are hazardous and non-hazardous waste segregated during transport? | 0
5.3.22 | Are specific vehicles used to only transport laboratory waste? | 0
5.3.23 | Are records kept for final disposal of waste? | 0
5.3.24 | Is there a log for accidental exposure and incident monitoring during waste disposal and pickup? | 0

## Resources
Resources
Title | Website
World Health Organisation (WHO) Laboratory Assessment Tool (2012) | https://apps.who.int/iris/bitstream/handle/10665/70874/WHO_HSE_GCR_LYO_2012.2_eng.pdf?sequence=3&isAllowed=y
WHO Laboratory Biosafety Manual, 3rd edition (2004) | https://www.who.int/publications-detail-redirect/9241546506
U.S. Centers for Disease Control and Prevention (CDC) Biosafety in Microbiological and Biomedical Laboratories (BMBL) 5th Edition (2009) | https://www.cdc.gov/labs/pdf/CDC-BiosafetymicrobiologicalBiomedicalLaboratories-2009-P.pdf